## Slide 1: M3 Ultrasound Curriculum How to use the butterfly

## Slide 2: Check out
Butterfly checkout will be handled by the curriculum office (Kathy Naneyshvili)
Process will be the same as checking out other devices, requiring leaving a check in case of damage
There are lightning cable (apple) and usb-c (non apple) options available
Can check probe out for 1 week while on IM rotation

## Slide 3: Check out
You will take the entire box which includes the charging cables and serial number on it
Must return in the same condition and in the box, just as when you received it
Please return the device charged so it is ready to go for the next user!

## Slide 4: App
Download the Butterfly IQ app from the app store (apple) or google play (android)
You will receive email to your VCU account with invitation to create an account

## Slide 5: How to Scan
Plug into your mobile device (iPad, iphone, android device)
Load up the app and sign in using the account you created

## Slide 6: Set up patient info
Start a new study
Enter in Educational as the patient name
Do not enter any PHI, including MRN, birthdate, or name.

## Slide 7: Basic controls
Depth
To adjust the depth slide your finger up or down for less or more depth

## Slide 8: Basic controls
Gain
To adjust the gain, swipe your finger left for less gain, and right for more gain

## Slide 9: Basic controls
Freeze
To freeze and save a still image use the snowflake icon

## Slide 10: Basic controls
Save Video Clip
To record a prospective video clip, use the camera icon

## Slide 11: Advanced controls
Please see user manual for additional controls
https://manual.butterflynetwork.com/butterfly-iq-user-manual_rev-aa-en.pdf

## Slide 12: How to submit images
Please save images into the folder for your rotation
For M3, select the block you are on
For M4, Select the AI folder

## Slide 13: Required scans
During your medicine rotation you will submit one of each of the following studies:
  Cardiac
  Thoracic
  Pulmonary
  DVT
Please see the attached power-point on what these views should look like
Additionally – built into the app are educational videos on how to obtain all of these studies

## Slide 14: Feedback
Feedback will come directly back to the app – you should get a notification
You can log in and see comments/tips/instructions on each study that gets QA’d by a faculty member

## Slide 15: Questions
Please email any of us with questions:
Jordan Tozer: Jordan.tozer@vcuhealth.org
Michael Joyce: john.joyce@vcuhealth.org
Sammy Pedram: Sammy.pedram@vcuhealth.org